Tender specification text

Rubber steel flange seals

GS-V EPDM

Two-part adjustable flange seal with vulcanized steel ring

Two-part adjustable rubber steel flange seal for steel / stainless steel / GFRP / PVC / PE / PP flanges to compensate flange misalignments of up to 8°, made of elastomer EPDM rubber with drinking water admission and a vulcanized steel ring, to be delivered and installed according to the manufacturer’s instructions.

Product:

DDL Flange seal GS-V EPDM

DDL GmbH, 73249 Wernau / N.

or equivalent

Diameter of flange:							        		DN ….….……

Pressure level:										PN …………..

Material of flange:					      			  ..............................…

Amount of flange seals:							   	Pcs.  ………..………

Unit price: ……………€	   	      Total price: ……………..€