Tender specification text

Casing end seal

ASM-G   (closed version)

Casing end seal for cable conduits with a carrier pipe or cable (closed version)

Casing end seal to be delivered and installed over the cable conduit and the carrier pipe/cable at the end of the cable conduit with tightening straps according to the manufacturer’s specifications.

Product:

DDL Casing End Seal ASM-G

DDL GmbH, 73249 Wernau / N.

or equivalent

Outside diameter of the casing pipe/cable conduit

(including potential casing):			DN..……………………   OD……..………….…...… mm

Outside diameter of the carrier pipe

(including potential casing):	            		DN ….…………………    OD………………….……. mm

Material

Seal:			EPDM/SBR

Tightening straps:	Stainless steel

Amount of seals:									Pcs.………….

Unit price: …………….. €		   Total price: ……………….. €