Tender specification text

Casing end seal

ASM-O   (open version for subsequent installation)

Casing end seal for cable conduits with several carrier pipes or cables (open version for subsequent installation)

Casing end seal to be delivered and closed over the carrier pipe and the cable conduit with glue and installed over the cable conduit and the carrier pipe with tightening straps at the end of the cable conduit according to the manufacturer’s specifications.

Product:

DDL Casing End Seal ASM-O

DDL GmbH, 73249 Wernau / N.

or equivalent

Outside diameter of the casing pipe/cable conduit

(including potential casing):			DN..……………………   OD……..………….…...… mm

Outside diameter of the carrier pipe

(including potential casing):	            		DN ….…………………    OD………………….……. mm

Material

Seal:			EPDM/SBR

Tightening straps:	Stainless steel

Amount of seals:									Pcs.………….

Unit price: …………….. €		   Total price: ……………….. €