Tender specification text

Steel wall sleeve

MH-V   (galvanized version)

Stainless steel wall sleeve, galvanized, with circular flange for installation in annular seals

Wall sleeve made of standardized steel pipe or rolled steel plate with a smooth internal wall and a completely welded centric flange (water stop) on the external wall

to be delivered and – according to the indications on the drawing – installed flush within the shuttering during the structuring work (before pouring the concrete) and secured against dislocation.

Product:

DDL Wall Sleeve MH-V

DDL GmbH, 73249 Wernau / N.

or equivalent

Inside diameter of the wall sleeve:					        	    ID ….….…...… mm

Wall thickness of the wall sleeve:						      d ……………. mm

Installation length of the wall sleeve:						      L ….….…...… mm

Material:	Galvanized steel

Model/name:								     MH-V   ID…………….. mm

Amount of wall sleeves:								Pcs. ….…..………...…

Unit price: ………………….. €	            Total price: .……….…….……€