Tender specification text

Annular seal

Compact seal insert

Two-component construction, stainless steel version

Tight against pressing water

Pipe-Seal Senso

Compact seal insert in a two-component construction for sealing pipe penetrations against pressing water

Annular seal against pressing water, consisting of an elastomer ring in a two-component construction, a carrier core component made of medium-hard solid rubber, a closed covering element made of soft thermoset elastomer, pressure flange plates and stainless steel connecting elements

to be delivered and installed into the annulus between wall sleeve/core-drilled hole and the carrier pipe supposed to be led through according to the manufacturer’s installation instructions.

Product:

DDL Pipe-Seal Senso

DDL GmbH, 73249 Wernau a.N.

or equivalent

Outside diameter of the carrier pipe (including

potential factory coating):	            			 DN ….………	  	OD …………… mm

Inside diameter of the wall sleeve or core-drilled hole:				ID ….….…...… mm

Material

- Sealing ring:	EPDM Shore A 50 and thermoset elastomer Shore A 20

- Steel frame:	Stainless steel V2A/AISI 304

- Screws:	Stainless steel V2A/AISI 304

Amount of seal inserts:								  	     Pcs.	 ….…

Unit price: ……………€	   	   Total price: ………………..€